## Cover
Bill of Quantities
Boaziyaaraiy beach Development
SECRETARIAT OF THE KULHUDHUFFUSHI CITY COUNCIL
PREPARED BY

## Summary
PROJECT: Boaziyaaraiy Beach development
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | HUT-1 | 0
4 | HUT-2 | 0
5 | TOILET BLOCK | 0
6 | HUT-3, SHOWER, SWING, BBQ GRILL, FEN MUDI, WATER WELL SHOWER | 0
7 | BEACH & SHORE PROTECTION | 0
8 | ELECTRICAL WORKS | 0
9 | PLUMBING WORKS | 0
10 | OTHER WORKS | 0
11 | KIDS PLAY AREA EQUIPMENTS | 0
12 | ADDITIONS | 0
13 | OMISSIONS | 0
| TOTAL Mvr | 0
| 8% GST Mvr | 0
| GRAND TOTAL Mvr | 0

## Bill 1-Preliminaries
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
Note | PREAMBLE TO BILL OF QUANTITY
1. General
a) The nature of this contract is measured unit price contract and the Bill of Quantity (BOQ) shall reflect this fact.
b) BOQ shall be read and construed in conjunction with other Contract Documents
c) The Tenderer is obliged to check the number of the pages of the Bill of Quantity and should any be found missing or duplicated or the figures or writing indistinct, the Tenderer must notify the Employer/Engineer at once and have the matter rectified before the Tender is submitted. No liability whatsoever will be accepted in respect of any claim for errors in the Tenderer’s offer resulting from failure to comply with the foregoing.
d) The Tenderer is deemed to have visited the site/s and fully acquainted himself as to the location of each of the items and works to be carried out and to all conditions which may affect the performance of the works, including but not limited to: -Access to each of the roads where solid waste transfer process will be carried out, and Access for the dump site. -Restrictions applicable to working in Male City area. -All safety regulations and employer site safety procedures. -All Safety regulations.
e) The Tenderer is also deemed to have surveyed the actual condition of the site and buildings and made his own assessment of the type and extent of the works prior to submitting his offer
2. Quantities
Even though that practical care was exercised in preparing the BOQ, but all quantities given herein shall be deemed to be estimated quantities of the work to be done but they are not to be taken as actual and correct quantities of the work to be executed and they are not to absolve the contractor of his obligations under the Contract. They are not to be taken as guarantee that the actual quantities increase or decrease, and any claim whatsoever submitted for cost or extra expenses incurred from such increase or decrease will not be accepted by Employer/Engineer except where else stipulated in the Contract.
3. Materials
All materials used are to be of the best new available and subject to the Employer/Engineer approval, and of durable nature, guaranteed, not liable to any base exchange and manufactured according to applicable BS, ASTM or DIN Standards. Execution also is subject to approval of Employer/Engineer and shall be the best available common practice in engineering codes at the time of execution.
4. Unit Price and Currency
The Unit Prices entered against the various items in the following Bill of Quantities include all operations for execution, completion and maintenance of the various items of the works finished completely in every respect till the final acceptance as specified or described in the Tender Documents, with or without modifications, either by way of additions or deductions, or alterations as may be offered in writing during the progress of the works, and include, without being limited to, all matters and things particularly referred to in the Tender Documents.
The Unit Price shall cover all costs of every kind whatsoever including, without being limited to, all charges for additional site installations, relocation, supervision, labor, transportation and supply of materials; the provision, maintenance, use and efficient repair of all plant, equipment and appliance of every kind, the construction and maintenance of all temporary works, the performance of all services and the fulfillment of all obligations and responsibilities herein defined.
The Tenderer shall be deemed to have fully considered all the conditions, obligations, and requirements of the Tender Documents before entering the respective unit price against the various items of the Bill of Quantities.
The Unit Prices given hereunder the BOQ shall also include erection, installation, fixing, and re-fixing of all elements. These prices shall also include taxes, visa for labor, gate passes, accommodations for the Contractor’s staff and labors, all required insurance and work permits, guarantees, bonds, traffic plan requirements, safety procedures, etc. and all requirements necessary to have the work maintained until its final handing over.
The Unit Prices given hereunder in the Bill of Quantity for this work shall also include overheads, risks, profit etc. and all other financial matters to have all these civil works completed.
Item | Description | Unit | Qty |  | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
(1) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences, Crane/Concrete pump, Machinaries and similar items | Item | 1 |  | 0
1.3 | Sign Board
(1) | Allow for sign board. | nos | 1 |  | 0
1.4 | SAFETY
(1) | Safety - Providing temporary fence with G.I. pipes/timber and clamps and GI roofing sheets around the work site during construction | Item | 1 |  | 0
1.5 | Clean-up
(1) | Allow for clean-up of completed works and site upon completion. | Item | 1 |  | 0
BILL No: 01 PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0

## Bill 2-Ground works
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 02
GROUND WORK
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.2 | Site clearance
| Clearing site - Removal of unwanted Trees,Shrubs. Relocation of Trees/palms inside the boundary if necessary. | item | 1 |  | 0
2.4 | Excavation
(a) Excavation includes for foundation of structures
2.4.1 | Excavation | item | 1 |  | 0
2.4.2 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
(b) Ground need to be compacted to the density required by the consultant
(c) Rates should include for levelling of existing gorund and backfilling for elevated zones in the beach.
| Back filling | item | 1 |  | 0
| BILL No: 02 GROUND WORKS |  |  |  | 0
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0

## Bill 3-Hut 1
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 03
HUT-1
3.0 | CONCRETE WORKS
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 (Cement:Sand:Aggregate) and lean concrete shall be 1:7 (Cement:Sand)
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.0.1 | LEAN CONCRETE
50mm thick lean concrete below Foundation
| Foundation Footings & Tie beams | m³ | 0.39 |  | 0
3.0.2 | REINFORCED CONCRETE
1 | Foundations footings | m³ | 0.3 |  | 0
2 | Tie beams | m³ | 1.27 |  | 0
3 | Columns | m³ | 0.77 |  | 0
4 | Roof beams | m³ | 1.37 |  | 0
5 | Concrete shelves | m³ | 2.25 |  | 0
3.0.3 | FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1 | Foundations footings | m2 | 2.4 |  | 0
2 | Tie beams | m2 | 12.7 |  | 0
3 | Columns | m2 | 15.36 |  | 0
4 | Roof beams | m2 | 19.1 |  | 0
5 | Concrete shelves | m2 | 4 |  | 0
3.0.4 | REINFORCEMENT WORK
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
1 | Foundations footings
| 10mm dia deformed bars - 6m | Nos | 4 |  | 0
2 | Tie beams
| 12mm dia deformed bars - 6m | Nos | 28 |  | 0
| 6mm mild steel bars - 6m | Nos | 3 |  | 0
3 | Columns
| 10mm dia deformed bars - 6m | Nos | 24 |  | 0
| 6mm mild steel bars - 6m | Nos | 15 |  | 0
4 | Roof beams
| 12mm dia deformed bars - 6m | Nos | 24 |  | 0
| 6mm mild steel bars - 6m | Nos | 22 |  | 0
5 | Concrete shelves
| 6mm mild steel bars - 6m | Nos | 9 |  | 0
3.1 | MASONRY AND PLASTERING
3.1.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and sand)
3.1.2 | MASONRY WORKS
1 | 100mm thick hollow masonry block wall | m2 | 35 |  | 0
2 | 100mm thick hollow masonry kicker wall for pool decking | m2 | 28.2 |  | 0
3.2 | PLASTERING
(a) 15mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering.
(b)Rates shall include for External plastering shall 20mm thick (15mm) in 1:4 cement and maldivian coral sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
3.2.1 | 15mm plastering in external & internal walls | m2 | 127 |  | 0
3.3 | FLOORING & TILING
3.3.1 | General
(a) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
3.3.2 | SCREEDING
| 50mm thick Floor screed in feeding room | m2 | 3.24 |  | 0
3.3.3 | TILING
(a) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) All Tiling work in accordance with specifications and finishes schedule.
(c) Tiles rate shall be given as specified in the drawing.
| 200x1200mm Homogenous parquet floor tile in feeding room | m2 | 3.24 |  | 0
3.3.4 | POOL DECKING
(a) Rates shall include for supply and installation of outdoor pool decking according to the specifications.
1 | Pool decking | m2 | 67.85 |  | 0
3.4 | DOORS AND WINDOWS
3.4.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber. Rate shall include for Paint/Varnish finish.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
(e) All doors and windows shall be accordance with door/window drawing details.
1 ) | D01 | nos | 1 |  | 0
3.5 | WALL FINISHES
3.5.1 | General
(b) All finishing work shall be carried in accordance with the Specifications
(c)Rate shall include for providing a titanium finish on the walls
1 | Smooth Titanium finish of plastered walls, columns and beams, concrete shelves. Mix ratio 1:7 (Titanium; OPC) | m2 | 85 |  | 0
3.6 | HYDRAULICS & DRAINAGE
3.6.1 | General
(a) Design provide and install plumbing network
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
3.6.2 | HYDRAULICS
a ) | Charges for Piping for fresh water Pipe work for wash basin | item | 1 |  | 0
3.6.3 | SANITARY FIXTURES &ACCESSORIES
1 | Gully Trap | nos | 1 |  | 0
2 | Wash Basin with Faucet | nos | 1 |  | 0
3 | Gate Valve | nos | 1 |  | 0
3.6.4 | DRAINAGE
1 ) | Charges for piping for all discharge pipes from wash basin to main drainage pipe. | item | 1 |  | 0
3.7 | ROOFING WORKS
3.7.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, and complete with cleats, packers, wedges and similar and all nails and screws and the like.
(b) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screw and other fixings and laps.
(c) Roofing sheets shall be Lysaght/Color bond. Design to be approved.
1 | Roofing Sheets | m2 | 78 |  | 0
2 | Ridge capping | m | 25 |  | 0
4 | 50x200mm timber ridge beam | m | 4.4 |  | 0
5 | 50x100mm timber rafters | m | 136 |  | 0
6 | 50x38mm timber battens | m | 134 |  | 0
7 | 12x250mm timber fascia board | m | 35.4 |  | 0
8 | Timber roof trusses | nos | 3 |  | 0
| BILL No: 04 HUT 1 |  |  |  | 0
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0

## Bill 4-Hut 2
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 04
HUT-2
4.0 | CONCRETE WORKS
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 (Cement:Sand:Aggregate) and lean concrete shall be 1:7 (Cement:Sand)
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
4.0.1 | LEAN CONCRETE
50mm thick lean concrete below Foundation
| Foundation Footings & Tie beams | m³ | 0.215 |  | 0
4.0.2 | REINFORCED CONCRETE
1 | Foundations footings | m³ | 0.162 |  | 0
2 | Tie beams | m³ | 0.7 |  | 0
3 | Columns | m³ | 0.512 |  | 0
4 | Roof beams | m³ | 0.88 |  | 0
5 | Concrete table | m³ | 0.52 |  | 0
4.0.3 | FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1 | Foundations footings | m2 | 1.44 |  | 0
2 | Tie beams | m2 | 7 |  | 0
3 | Columns | m2 | 10.24 |  | 0
4 | Roof beams | m2 | 12.23 |  | 0
5 | Concrete table | m2 | 1.91 |  | 0
4.0.4 | REINFORCEMENT WORK
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
1 | Foundations footings
| 10mm dia deformed bars - 6m | Nos | 3 |  | 0
2 | Tie beams
| 12mm dia deformed bars - 6m | Nos | 12 |  | 0
| 6mm mild steel bars - 6m | Nos | 14 |  | 0
3 | Columns
| 10mm dia deformed bars - 6m | Nos | 16 |  | 0
| 6mm mild steel bars - 6m | Nos | 10 |  | 0
4 | Roof beams
| 12mm dia deformed bars - 6m | Nos | 12 |  | 0
| 6mm mild steel bars - 6m | Nos | 16 |  | 0
4 | Concrete bench
| 10mm dia deformed bars - 6m | Nos | 1 |  | 0
| 6mm mild steel bars - 6m | Nos | 3 |  | 0
4.1 | MASONRY AND PLASTERING
4.1.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and sand)
(d) 15mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering.
e) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
4.1.2 | MASONRY & PLASTERING WORKS
1 | Masonary & plastering works of benches as per drawings & specifications | item | 1 |  | 0
4.3 | TILING
(a) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) All Tiling work in accordance with specifications and finishes schedule.
(c) Tiles rate shall be given as specified in the drawing.
| Tiling works in masonary benches | m2 | 9.53 |  | 0
4.5 | WALL FINISHES
4.5.1 | General
(b) All finishing work shall be carried in accordance with the Specifications
(c)Rate shall include for providing a titanium finish on the walls
1 | Smooth Titanium finish of plastered walls, columns and beams, concrete shelves. Mix ratio 1:7 (Titanium; OPC) | m2 | 42.33 |  | 0
4.6 | ROOFING WORKS
4.6.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, and complete with cleats, packers, wedges and similar and all nails and screws and the like.
(b) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screw and other fixings and laps.
4.6.2 | Roofing
1 | Roofing Sheets | m2 | 27.6 |  | 0
2 | Ridge capping | m | 18 |  | 0
5 | 50x100mm timber rafters | m | 75.9 |  | 0
6 | 50x38mm timber battens | m | 71 |  | 0
7 | 12x250mm timber fascia board | m | 25.4 |  | 0
| BILL No: 04 HUT 2 |  |  |  | 0
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0

## Bill 5-Toilet block
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 05
TOILET BLOCK
5.0 | CONCRETE WORKS
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
5.0.1 | LEAN CONCRETE
50mm thick lean concrete below Foundation
| Foundation Footings & Tie beams | m³ | 0.26 |  | 0
5.0.2 | REINFORCED CONCRETE
1 | Foundations footings | m³ | 0.45 |  | 0
2 | Tie beams | m³ | 0.75 |  | 0
3 | Columns | m³ | 0.96 |  | 0
4 | Floor beams | m³ | 1.05 |  | 0
5 | Floor slabs | m³ | 4.09 |  | 0
5.0.3 | FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1 | Foundations footings | m2 | 2.4 |  | 0
2 | Tie beams | m2 | 6 |  | 0
3 | Columns | m2 | 19.2 |  | 0
4 | Floor beams | m2 | 22 |  | 0
5 | Floor slabs | m2 | 12.9 |  | 0
5.0.4 | REINFORCEMENT WORK
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
1 | Foundations footings
| 10mm dia deformed bars - 6m | Nos | 5 |  | 0
2 | Tie beams
| 12mm dia deformed bars - 6m | Nos | 16 |  | 0
| 6mm mild steel bars - 6m | Nos | 28 |  | 0
3 | Columns
| 12mm dia deformed bars - 6m | Nos | 17 |  | 0
| 6mm mild steel bars - 6m | Nos | 20 |  | 0
4 | Slab beams
| 12mm dia deformed bars - 6m | Nos | 32 |  | 0
| 6mm mild steel bars - 6m | Nos | 28 |  | 0
5 | Slabs
| 10mm dia deformed bars - 6m | Nos | 200 |  | 0
5.1 | MASONRY AND PLASTERING
5.1.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and sand)
5.1.2 | MASONRY WORKS
1 | 100mm thick hollow masonry block wall | m2 | 55.6 |  | 0
5.2 | PLASTERING
(a) 15mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering.
(b)Rates shall include for External plastering shall 20mm thick (15mm) in 1:4 cement and maldivian coral sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
5.2.1 | 15mm plastering in external & internal walls | m2 | 111.2 |  | 0
5.3 | FLOORING & TILING
5.3.1 | General
(a) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
5.3.2 | SCREEDING
| 50mm thick Floor screed | m2 | 24.4 |  | 0
5.3.3 | TILING
(a) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) All Tiling work in accordance with specifications and finishes schedule.
(c) Tiles rate shall be given as specified in the drawing.
1 | 300x300mm Homogenous floor tile in toilet floor | m2 | 7.84 |  | 0
2 | Parquet tiles on Toilet block wash area floor | m2 | 8.52 |  | 0
5.4 | DOORS AND WINDOWS
5.4.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber. Rate shall include for Paint/Varnish finish.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
(e) All doors and windows shall be accordance with door/window drawing details.
1 | D01 | nos | 2 |  | 0
2 | D02 | nos | 1 |  | 0
3 | V1 | nos | 2 |  | 0
5.5 | WALL FINISHES
5.5.1 | General
(b) All finishing work shall be carried in accordance with the Specifications
(c)Rate shall include for providing a titanium finish on the walls
1 | 300x600mm Homogenous wall tile (matt smooth finish) in toilet interior wall & basin front wall | m2 | 41.5 |  | 0
2 | Titanium finish on toilet exterior walls (1:7) | m2 | 38.3 |  | 0
2 | Stone tiles on basin front wall exterior side and planter box | m2 | 7.29 |  | 0
5.6 | HYDRAULICS & DRAINAGE
5.6.1 | General
(a) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
(f) All flush tanks should be connected to well water. Other fixtures should switchable between well water and fresh supply water
5.6.2 | HYDRAULICS
1 | Internal piping for toilet block | item | 1 |  | 0
5.6.3 | SANITARY FIXTURES &ACCESSORIES
1 | Wash Basin with Faucet | nos | 2 |  | 0
2 | Water closet | nos | 2 |  | 0
3 | Muslim shower | nos | 2 |  | 0
4 | Floor drain | nos | 2 |  | 0
5.6.4 | SEWERAGE & DRAINAGE
1 ) | Internal sewerage piping for toilet block | item | 1 |  | 0
| BILL No: 05 Toilet block |  |  |  | 0
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0

## Bill 6-Hut 3, Shower, Swing
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 06
HUT-3, SHOWER, SWING, BBQ GRILL, FEN MUDI
6.0 | GENERAL
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
(d) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
e ) All walls hall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and sand)
6.1 | HUT -3
Complete fabrication & installation of hut using Fiber glass. Rates shall include for concrete works
1 | Hut-3 | nos | 6 |  | 0
2 | Supply of beach chairs | nos | 16 |  | 0
6.2 | SHOWER
Construction of Shower using masonry blocks as per drawings and specifications
Rates shall include for:
Concrete works (0.33 m3)
Masonry works (18 m2)
Plastering works (36 m2)
Screed (14.22 m2)
Tiling (43.97 m2)
Titanium finish (31 m2)
Internal Plumbing
1 | Shower | nos | 2 |  | 0
6.2 | SWING
Construction of swing as per drawings and specifications.
All timber use should be 'Red Meranti'
1 | Swing (TYPE-1) | nos | 4 |  | 0
2 | Swing (TYPE-2) | nos | 1 |  | 0
3 | Timber Trellis & Poly-carbonate sheeting | item | 1 |  | 0
6.3 | BBQ GRILL
Construction of BBQ grill as per drawings and specifications.
1 | BBQ grill | nos | 3 |  | 0
6.4 | FEN-MUDI
Construction of Fen mudi as per drawings
Rates should include for plumbing and plumbing materials along with sanitary fixtures
1 | Fen mudi | nos | 3 |  | 0
6.4 | WATER WELL SHOWER AREA
1 | Demolision of existing water well wall
2 | Construction of above ground part of well using concrete including screeding, finishing using titanium finish, gutter works | item | 1 |  | 0
3 | Dhaani stand as per drawings | item | 1 |  | 0
4 | Dhaani | nos | 4 |  | 0
| BILL No: 06 Hut 3, Shower, Swing, BBQ hut, Fen mudi |  |  |  | 0
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 0

## Bill 7-Beach & protection works
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 07
BEACH & PROTECTION WORKS
7.0 | GENERAL
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
7.1 | SHORE PROTECTION
Construction of groynes for shore protection using Geo bags to given drawings & specifications
Geo-bags should be double stiched using geobad sewing threads
1 | Construction of groynes | item | 1 |  | 0
2 | Supply of extra geo-bags with sewing thread of given specifications | nos | 3000 |  | 0
7.2 | SAND NOURISHMENT
This includes removal of existing sand and rocks to a depth of 300mm using sieving/screening bucket, 10ft inland from shoreline and 15ft toward the sea from shoreline.
The sand required for the nourishment of this area will be provided by the council.
Rates should include for transporation of sand
1 | Sand nourishment | item | 1 |  | 0
| BILL No: 07 Beach & shore protection works |  |  |  | 0
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 0

## Bill 8- Electrical works
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 08
ELECTRICAL WORKS
8.0 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to Utility Regulatory Authority standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation of fittings and fixtures.
(f) Supply & installation of Distribution board inclusive of current meters, circuit breakers, connections and any other accessories required; Rates shall also include connection to main distribution board with underground cable run through HP PVC pipe and safety barrier as described;
(g) Max number of lights per series should be 10. Each series should be connected to a digital timer switch
8.1 | ELECTRICAL BOARDS
1 | Supply and Installation of Utility Regulatory Authority approved kWh 3-PHASE Meter | nos | 1 |  | 0
2 | Main distribution board (capacity according to requirement) | nos | 1 |  | 0
3 | Mini distribution box | nos | 2 |  | 0
| House distribution box | nos | 1 |  | 0
4 | 16mm2 Cabling to DBs Wiring | nos | 4 |  | 0
8.2 | ELECTRIC FIXTURES
1 | Garden lights (1 arm). Garden lights pole design should be approved by submitting to council
|  | nos | 48 |  | 0
2 | Garden lights for BBQ area (2 arm). Garden lights pole design should be approved by submitting to council
|  | nos | 2 |  | 0
3 | 2000W flood light (WITH POLE) | nos | 2 |  | 0
4 | Wall mount up-down light (Hut-1) | nos | 10 |  | 0
5 | Wall mount fan (Hut-1) | nos | 1 |  | 0
6 | Surface mount light (Hut-2) | nos | 4 |  | 0
7 | Surface mount light (Toilet block) | nos | 5 |  | 0
8 | Single gang switch (Hut 1 Feeding room) | nos | 3 |  | 0
9 | Single gang switch (Toilet block) | nos | 3 |  | 0
10 | Single gang power socket (Toilet block) | nos | 2 |  | 0
11 | Single gang power socket (water proof) (Toilet block) | nos | 3 |  | 0
12 | 3ft Clock (With Ilumination) (Toilet block) | nos | 4 |  | 0
13 | Spot light (Name board monument) | nos | 4 |  | 0
14 | Digital Timer switch | nos | 9 |  | 0
15 | ELCB (63 Amp) | nos | 9 |  | 0
16 | MCB (4 pole 3 phase) | nos | 1 |  | 0
17 | Circuit breaker (16 Amp) | nos | 1 |  | 0
8.3 | ELECTRICAL WIRING
1 | 6mm2 cabling to garden lights | nos | 48 |  | 0
2 | 6mm2 cabling to flood lights | nos | 2 |  | 0
3 | 2.5mm2 Wiring to Light Points | points | 24 |  | 0
4 | 2.5mm2 Wiring to Power Points | points | 5 |  | 0
5 | 2.5mm2 Wiring to clock | points | 4 |  | 0
| BILL No: 08 Electrical works |  |  |  | 0
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0

## Bill 9-Other works
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 09
OTHER WORKS
9.0 | GENERAL
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and sand)
9.1 | DISABIITY ACCESS RAMP TO SEA
1 | Concrete works | item | 1 |  | 0
2 | S.S railing | item | 2 |  | 0
9.2 | BOUNDARY WALL
1 | Concrete works | m3 | 3.12 |  | 0
2 | Masonry works | m2 | 126 |  | 0
3 | Plastering works | m2 | 252 |  | 0
4 | Painting | m2 | 252 |  | 0
9.3 | WALKWAYS
1 | Laying of concrete paving blocks on the walkways | m2 | 336 |  | 0
2 | Outdoor Floor painting on walkways as per drawings /specifications | m2 | 336 |  | 0
9.4 | NAME-BOARD MONUMENT
1 | Construction of name-board monument as per drawings & specifications | item | 1 |  | 0
9.5 | CONCRETE BENCH
1 | Construction of concrete benches as per drawings & specifications | nos | 12 |  | 0
9.6 | WATER SLIDE
1 | Complete fabrication and installation of water slide as per drawings & specifications | nos | 12 |  | 0
| BILL No: 09 Other works |  |  |  | 0
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  | 0

## Bill 10- Plumbing works
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 10
PLUMBING WORKS
10.0 | General
(a) Design provide and install plumbing network for the entire park area in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
(f) All flush tanks shold be connected to well water. Other fixtures should switchable between well water and fresh supply water
(g) Pump oulet should be with Gate valve for switching between well water and fresh water supply.
(g) Plumbing to showers should have a gate valve
10.1 | FRESH WATER NETWORK
1 | Laying of 2" fresh water main pipe from pump to locations shown in the drawing | item | 1 |  | 0
2 | MWSC water supply connection. Application for MWSC connection should be done by the contractor
10.2 | WATER PUMP
1 | Supply and installation of deep well water pump. Contractor to supply specifications of water pump caterable to the beach area for approval | item | 1 |  | 0
Pump should be have pressure tank with a capacity of minimum 100 liters.
10.3 | PUMP HOUSING
1 | Installationg of pump housing as per drawings | item | 1 |  | 0
10.4 | WATER WELL
1 | Constructuion of 4ft radius under ground water well | item | 1 |  | 0
10.5 | SEWERAGE NETWORK
1 | Laying of main sewerage pipes from toilet block to MWSC catchpit | item | 1 |  | 0
2 | MWSC SEWER connection. Application for MWSC connection should be done by the contractor | item | 1 |  | 0
| BILL No: 10 Plumbing works |  |  |  | 0
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0

## Bill 11-Kids play area equpmen
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 11
KIDS PLAY AREA EQUIPMENTS
11.0 | GENERAL
(a) Rates shall include for supply nad installation of euipments.
(b) All equipments supplied must be brand new.
(b) Photos/ specfications of euipment should be submitted for approval before purchasing
(c) The photos given in this BOQ are for referal only.
11.1 | PLAY AREA EQUIPMENTS
1 | Playground climbers | nos | 1 |  | 0
2 | Slides | nos | 1 |  | 0
3 | Swings | nos | 1 |  | 0
3 | Spring riders | nos | 3 |  | 0
| BILL No: 11 Kids play area equipments |  |  |  | 0
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0

## Bill 12- Additions
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 12
ADDITIONS
12 | GENERAL
Provision to include quantities as per the drawing which is missed in the bill of quantities.
| BILL No: 12 Additions |  |  |  | 0
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 0

## Bill 13- Ommisions
PROJECT : Boaziyaaraiy beach development
Item | Description | Unit | Qty | Rate | Total
BILL NO : 13
ADDITIONS
13 | GENERAL
Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
| BILL No: 13 Additions |  |  |  | 0
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 0